# Microplate_Sulfide_Code

Alia Al-Haj

2024-10-29

## Information

#######################################################################################
####### COMPASS Synoptic
####### Brackish
####### Data Analysis Code: Porewater sulfide 
####### MONTH: October
##############################################################################################


############################# Information ##################################
#Author: Alia N. Al-Haj
#Edited: 20240530

#Samples taken from porewater peepers
#Samples were filtered with 0.2 uM, kept on ice and then in fridge until analysis
#Field Protocol: 
#Samples Analyzed using compass sulfide microplate method 
#Lab Protocol:

## Code Set up

Date_Run = "20241028"
Run_by = "Melanie Giessner"
Project = "COMPASS"
Top_STD = 100

#packages:
library(ggplot2)
library(dplyr)

## 
## Attaching package: 'dplyr'

## The following objects are masked from 'package:stats':
## 
##     filter, lag

## The following objects are masked from 'package:base':
## 
##     intersect, setdiff, setequal, union

library(data.table)

## 
## Attaching package: 'data.table'

## The following objects are masked from 'package:dplyr':
## 
##     between, first, last

library(matrixStats)

## 
## Attaching package: 'matrixStats'

## The following object is masked from 'package:dplyr':
## 
##     count

library(gridExtra)

## 
## Attaching package: 'gridExtra'

## The following object is masked from 'package:dplyr':
## 
##     combine

library(ggpubr)
library(grid)
library(stringr)
library(plater)
library(raster)

## Loading required package: sp

## 
## Attaching package: 'raster'

## The following object is masked from 'package:dplyr':
## 
##     select

##Notes #Alia needs to add a way to look at previous slopes #We currently need to remove bad reps manually (check cv). Alia is working on automating this.

#Files Required: #csv of samples and standard absorbance (1st box), IDs (second box), and dilutions (third box): see template

## Read in data

#set working directory 
setwd("S:/GlobalChangeEco/porewater_r scripts & Data")

# Read in raw data csv
dat <- stds <- read_plate(
  file = "S:/GlobalChangeEco/porewater_r scripts & Data/Data/Sulfide Microplate/COMPASS/2024 October/Tidy Data/COMPASS_H2S_20241028_Plate3.csv",             # full path to the .csv file
  well_ids_column = "Wells",    # name to give column of well IDs (optional)
  sep = ","                     # separator used in the csv file (optional)
)
str(dat)

## tibble [96 × 4] (S3: tbl_df/tbl/data.frame)
##  $ Wells   : chr [1:96] "A01" "A02" "A03" "A04" ...
##  $ values  : num [1:96] 0.061 0.058 0.059 0.101 0.092 0.094 0.436 0.449 0.39 0.045 ...
##  $ values.2: chr [1:96] "Std 0" "Std 0" "Std 0" "33" ...
##  $ values.3: int [1:96] 1 1 1 1 1 1 5 5 5 NA ...

head(dat)

## # A tibble: 6 × 4
##   Wells values values.2 values.3
##   <chr>  <dbl> <chr>       <int>
## 1 A01    0.061 Std 0           1
## 2 A02    0.058 Std 0           1
## 3 A03    0.059 Std 0           1
## 4 A04    0.101 33              1
## 5 A05    0.092 33              1
## 6 A06    0.094 33              1

#Change the headers
colnames(dat) <- c("Wells", "Abs", "IDs", "Dilution")

#subset by H2s Stds
H2S_stds_all <- dat %>%  
  filter(str_detect(dat$IDs, "Std"))  
head(H2S_stds_all)

## # A tibble: 6 × 4
##   Wells   Abs IDs   Dilution
##   <chr> <dbl> <chr>    <int>
## 1 A01   0.061 Std 0        1
## 2 A02   0.058 Std 0        1
## 3 A03   0.059 Std 0        1
## 4 B01   0.172 Std 1        1
## 5 B02   0.134 Std 1        1
## 6 B03   0.118 Std 1        1

#Add H2S std concentrations to std dataframe
#Std 0 = 0 uM
#Std 1 = 5.0 uM
#Std 2 = 12.5 uM
#Std 3 = 25.0 uM
#Std 4 = 50.0 uM
#Std 5 = 100.0 uM
#make a concentration column
H2S_stds_all$Conc = NA
H2S_stds_all$Conc[H2S_stds_all$IDs == 'Std 0'] <- 0
H2S_stds_all$Conc[H2S_stds_all$IDs == 'Std 1'] <- 5.0
H2S_stds_all$Conc[H2S_stds_all$IDs == 'Std 2'] <- 12.5
H2S_stds_all$Conc[H2S_stds_all$IDs == 'Std 3'] <- 25.0
H2S_stds_all$Conc[H2S_stds_all$IDs == 'Std 4'] <- 50.0
H2S_stds_all$Conc[H2S_stds_all$IDs == 'Std 5'] <- 100.0

#Remove check standards which have NAs in the Conc column
H2S_stds <- na.omit(H2S_stds_all)

## Plot standards

#TO DO for the Standard Curve: 1. Need to calculate CVs for each of the standards 2. If CV is high (>0.2) figure out an automated way to remove one point and find the lowest CV 3. Export the slope, yint, R2, etc into a QAQC file

##manually remove high cv points
#hash for first run
H2S_stds <- subset(H2S_stds, !(Wells %in% c( "B01","C03","D01","E01","E02","E03")))

#Plot stds and calculate the slope, intercept, and R2 
H2S <- ggplot(H2S_stds, aes(Conc, Abs)) + geom_point() + geom_smooth(method = "lm", se = FALSE)
H2S

## `geom_smooth()` using formula = 'y ~ x'

H2S_lm <- lm(H2S_stds$Abs ~ H2S_stds$Conc)
summary(H2S_lm)

## 
## Call:
## lm(formula = H2S_stds$Abs ~ H2S_stds$Conc)
## 
## Residuals:
##       Min        1Q    Median        3Q       Max 
## -0.092724 -0.019502 -0.004638  0.016715  0.092276 
## 
## Coefficients:
##                Estimate Std. Error t value Pr(>|t|)    
## (Intercept)   0.0800015  0.0170690   4.687 0.000858 ***
## H2S_stds$Conc 0.0101272  0.0003326  30.452 3.42e-11 ***
## ---
## Signif. codes:  0 '***' 0.001 '**' 0.01 '*' 0.05 '.' 0.1 ' ' 1
## 
## Residual standard error: 0.04615 on 10 degrees of freedom
## Multiple R-squared:  0.9893, Adjusted R-squared:  0.9883 
## F-statistic: 927.3 on 1 and 10 DF,  p-value: 3.416e-11

cf <- coef(H2S_lm)

#create data frame with 1 rows and 0 columns
Slopes <- data.frame(matrix(ncol = 0, nrow = 1))
Slopes$Curve <- "H2S"
Slopes$R2 <- summary(H2S_lm)$adj.r.squared
Slopes$Slope <- cf[2]
Slopes$Intercept <- cf[1]
head(Slopes)

##   Curve        R2      Slope  Intercept
## 1   H2S 0.9882648 0.01012723 0.08000151

#Calculate cv for STDs

H2S_stds1 <- H2S_stds %>%
  group_by(IDs) %>%
  summarise(H2S_mean_Abs = mean(Abs), H2S_sd = sd(Abs), H2S_cv = cv(Abs), 
            Dilution = first(Dilution))

head(H2S_stds1)

## # A tibble: 5 × 5
##   IDs   H2S_mean_Abs  H2S_sd H2S_cv Dilution
##   <chr>        <dbl>   <dbl>  <dbl>    <int>
## 1 Std 0       0.0593 0.00153   2.57        1
## 2 Std 1       0.126  0.0113    8.98        1
## 3 Std 2       0.224  0.0106    4.72        1
## 4 Std 3       0.360  0.0177    4.92        1
## 5 Std 5       1.09   0.0930    8.55        1

#Flag high cvs
H2S_stds1$H2S_cv_flag <- ifelse(H2S_stds1$H2S_cv > 10, 'High CV', 'within range')
head(H2S_stds1)

## # A tibble: 5 × 6
##   IDs   H2S_mean_Abs  H2S_sd H2S_cv Dilution H2S_cv_flag 
##   <chr>        <dbl>   <dbl>  <dbl>    <int> <chr>       
## 1 Std 0       0.0593 0.00153   2.57        1 within range
## 2 Std 1       0.126  0.0113    8.98        1 within range
## 3 Std 2       0.224  0.0106    4.72        1 within range
## 4 Std 3       0.360  0.0177    4.92        1 within range
## 5 Std 5       1.09   0.0930    8.55        1 within range

#Was the standard curve ok for this plate? Do we need to rerun the plate? Continue means plate is ok. Rerun plate means the R2 is too low.
if(Slopes$R2 > 0.985){
print("Continue")
} else {
print("Rerun plate")
}

## [1] "Continue"

#remove high cv

# Checking STD Data against QAQC file

#read in datafile with all the slopes
qlogO <- read.csv("S:/GlobalChangeEco/porewater_r scripts & Data/BGC_GCE_PorewaterAnalysis/Sulfide/Sulfide_STD_QAQC.csv")
qlogO <- qlogO[,c(2:7)]
colnames(qlogO) <- c("Date", "Project", "R2", "Slope", "Intercept", "Top_STD")
head(qlogO)

##       Date Project        R2       Slope  Intercept Top_STD
## 1 20241028 COMPASS 0.9882648 0.010127226 0.08000151     100
## 2 20241028 COMPASS 0.9881258 0.009325271 0.09751384     100
## 3 20241028 COMPASS 0.9975875 0.011945752 0.06719719     100
## 4 20241007 COMPASS 0.9930782 0.009645972 0.08151815     100
## 5 20241004 COMPASS 0.9860711 0.009987862 0.08602144     100
## 6 20241004 COMPASS 0.9861434 0.009891411 0.07979614     100

#create data frame 
Date <- Date_Run
R2 <-summary(H2S_lm)$adj.r.squared
Slope <- cf[2]
Intercept <- cf[1]
qplate <- data.frame(Date, Project , R2, Slope, Intercept, Top_STD, row.names = NULL)
head(qplate)

##       Date Project        R2      Slope  Intercept Top_STD
## 1 20241028 COMPASS 0.9882648 0.01012723 0.08000151     100

#add data to file
qlog <- rbind(qplate, qlogO)
head(qlog)

##       Date Project        R2       Slope  Intercept Top_STD
## 1 20241028 COMPASS 0.9882648 0.010127226 0.08000151     100
## 2 20241028 COMPASS 0.9882648 0.010127226 0.08000151     100
## 3 20241028 COMPASS 0.9881258 0.009325271 0.09751384     100
## 4 20241028 COMPASS 0.9975875 0.011945752 0.06719719     100
## 5 20241007 COMPASS 0.9930782 0.009645972 0.08151815     100
## 6 20241004 COMPASS 0.9860711 0.009987862 0.08602144     100

# pull date run
qlog_Date <- subset(qlog, Date == Date_Run) 

##plot the slopes to make sure there are no crazy outliers 
slope1 <- ggplot(data=qlog, aes(x=Date, y=Slope)) +
           geom_hline(yintercept= (mean(qlog$Slope)+ (2*sd(qlog$Slope))), linetype="dashed", color = "red", size=2)+
            geom_hline(yintercept= (mean(qlog$Slope)- (2*sd(qlog$Slope))), linetype="dashed", color = "red", size=2)+
            geom_point(aes(size=3)) + 
            theme_classic() + ylim(0.005, 0.016) + 
           theme(legend.position="none") + 
           ggtitle("Sulfide Slopes")+
  guides(x = guide_axis(angle = 70))

## Warning: Using `size` aesthetic for lines was deprecated in ggplot2 3.4.0.
## ℹ Please use `linewidth` instead.
## This warning is displayed once every 8 hours.
## Call `lifecycle::last_lifecycle_warnings()` to see where this warning was
## generated.

slope1

if (qlog_Date$Slope[1] > (mean(qlog$Slope)+ (2*sd(qlog$Slope)))| qlog_Date$Slope[1] < (mean(qlog$Slope)- (2*sd(qlog$Slope)))) {
print("rerun Plate")
} else {
print("continue")
}

## [1] "continue"

#Rerun if outside of red lines

##plot the intercepts to make sure there are no crazy outliers 
int1 <- ggplot(data=qlog, aes(x=Date, y=Intercept)) +
  geom_hline(yintercept= (mean(qlog$Intercept)+ (2*sd(qlog$Intercept))), linetype="dashed", color = "red", size=2)+
  geom_hline(yintercept= (mean(qlog$Intercept)- (2*sd(qlog$Intercept))), linetype="dashed", color = "red", size=2)+
  geom_point(aes(size=3)) + 
  theme_classic() + ylim(0.05,0.125) + 
  theme(legend.position="none")+ 
  ggtitle("Sulfide Intercepts")+
  guides(x = guide_axis(angle = 70))

int1

if (qlog_Date$Intercept[1] > (mean(qlog$Intercept)+ (2*sd(qlog$Intercept)))| qlog_Date$Intercept[1] < (mean(qlog$Intercept)- (2*sd(qlog$Intercept)))) {
print("rerun Plate")
} else {
print("continue")
}

## [1] "continue"

#plot the R2s to make sure there are no crazy outliers 
Rsq1 <- ggplot(data=qlog, aes(x=Date, y=R2)) +
  geom_hline(yintercept= (0.98), linetype="dashed", color = "red", size=2)+
  geom_point(aes(size=3)) + 
  theme_classic() + ylim(0.96, 1.01) + 
  theme(legend.position="none")+ 
  ggtitle("Sulfide R2s")+
  guides(x = guide_axis(angle = 70))

Rsq1

if (qlog_Date$R2[1] < (0.985)) {
print("rerun Plate")
} else {
print("continue")
}

## [1] "continue"

## Check standards QAQC

#Make sure check standards are not different from standard concentration
#subset Check Standards from the rest of the dataset
H2S_std_Chk <- H2S_stds_all %>%  filter(!IDs =='Std 0') %>%  filter(!IDs =='Std 1') %>%  filter(!IDs =='Std 2') %>%  filter(!IDs =='Std 3') %>%  filter(!IDs =='Std 4') %>%  filter(!IDs =='Std 5')
head(H2S_std_Chk)

## # A tibble: 6 × 5
##   Wells   Abs IDs      Dilution  Conc
##   <chr> <dbl> <chr>       <int> <dbl>
## 1 B07   0.057 ChkStd 0        1    NA
## 2 B08   0.057 ChkStd 0        1    NA
## 3 B09   0.055 ChkStd 0        1    NA
## 4 D07   0.421 ChkStd 3        1    NA
## 5 D08   0.331 ChkStd 3        1    NA
## 6 D09   0.394 ChkStd 3        1    NA

#Calculate Check standard Concentration
H2S_std_Chk$Conc <- (H2S_std_Chk$Abs-cf[1])/cf[2]

#Are the check standards significantly different from the standards?
#subset datasets for comparison
std0 <- subset(H2S_stds, IDs == "Std 0")
Chkstd0 <- subset(H2S_std_Chk, IDs == "ChkStd 0")
std3 <- subset(H2S_stds, IDs == "Std 3")
Chkstd3 <- subset(H2S_std_Chk, IDs == "ChkStd 3")
std4 <- subset(H2S_stds, IDs == "Std 4")
Chkstd4 <- subset(H2S_std_Chk, IDs == "ChkStd 4")

t.test.std0 <- t.test(std0$Abs,Chkstd0$Abs,var.equal = T)
t.test.std0

## 
##  Two Sample t-test
## 
## data:  std0$Abs and Chkstd0$Abs
## t = 3.5277, df = 7, p-value = 0.009628
## alternative hypothesis: true difference in means is not equal to 0
## 95 percent confidence interval:
##  0.001318768 0.006681232
## sample estimates:
##  mean of x  mean of y 
## 0.05933333 0.05533333

if(t.test.std0$p.value > 0.05){
print("Continue")
} else {
print("Rerun plate")
}

## [1] "Rerun plate"

t.test.std3 <- t.test(std3$Abs,Chkstd3$Abs,var.equal = T)
t.test.std3

## 
##  Two Sample t-test
## 
## data:  std3$Abs and Chkstd3$Abs
## t = -0.63092, df = 3, p-value = 0.5729
## alternative hypothesis: true difference in means is not equal to 0
## 95 percent confidence interval:
##  -0.13599362  0.09099362
## sample estimates:
## mean of x mean of y 
##    0.3595    0.3820

if(t.test.std3$p.value > 0.05){
print("Continue")
} else {
print("Rerun plate")
}

## [1] "Continue"

#t.test.std4 <- t.test(std4$Abs,Chkstd4$Abs,var.equal = T)
#t.test.std4

#if(t.test.std4$p.value > 0.05){
#print("Continue")
#} else {
#print("Rerun plate")
#}

## Matrix Check QAQC

#Uncomment MC20 if you used the 20 ppt matrix check

std5 <- subset(H2S_stds, IDs == "Std 5")
MC10 <- subset(dat, IDs == "MC: 10ppt S5")
MC20 <- subset(dat, IDs == "MC: 20ppt S5")

#10ppt matrix check
t.test.MC10 <- t.test(std5$Abs,MC10$Abs,var.equal = T)
t.test.MC10

## 
##  Two Sample t-test
## 
## data:  std5$Abs and MC10$Abs
## t = 0.14507, df = 4, p-value = 0.8917
## alternative hypothesis: true difference in means is not equal to 0
## 95 percent confidence interval:
##  -0.1632441  0.1812441
## sample estimates:
## mean of x mean of y 
##     1.087     1.078

if(t.test.MC10$p.value > 0.05){
print("Continue")
} else {
print("Rerun plate")
}

## [1] "Continue"

#20ppt matrix check
 t.test.MC20 <- t.test(std5$Abs,MC20$Abs,var.equal = T)
 t.test.MC20

## 
##  Two Sample t-test
## 
## data:  std5$Abs and MC20$Abs
## t = -0.43085, df = 4, p-value = 0.6888
## alternative hypothesis: true difference in means is not equal to 0
## 95 percent confidence interval:
##  -0.2506166  0.1832833
## sample estimates:
## mean of x mean of y 
##  1.087000  1.120667

if(t.test.MC20$p.value > 0.05){
 print("Continue")
 } else {
 print("Rerun plate")
 }

## [1] "Continue"

## Read in Sample Data subset

dat <- dat %>%  filter(!IDs =='Std 0') %>%  filter(!IDs =='Std 1') %>%  filter(!IDs =='Std 2') %>%  filter(!IDs =='Std 3') %>%  filter(!IDs =='Std 4') %>%  filter(!IDs =='Std 5') %>%  filter(!IDs =='ChkStd 0') %>%  filter(!IDs =='ChkStd 3') %>%  filter(!IDs =='ChkStd 4') %>%  filter(!IDs =='MC: 10ppt S5') %>%  filter(!IDs =='MC: 20ppt S5') 
head(dat)

## # A tibble: 6 × 4
##   Wells   Abs IDs   Dilution
##   <chr> <dbl> <chr>    <int>
## 1 A04   0.101 33           1
## 2 A05   0.092 33           1
## 3 A06   0.094 33           1
## 4 A07   0.436 15           5
## 5 A08   0.449 15           5
## 6 A09   0.39  15           5

Std5_ABS=mean(std5$Abs)
#Now flag any Abs that are above the 100uM standard absorbance (1.55)
dat$H2S_Dilute <- ifelse(dat$Abs > Std5_ABS , "Dilute", "Ok")
head(dat)

## # A tibble: 6 × 5
##   Wells   Abs IDs   Dilution H2S_Dilute
##   <chr> <dbl> <chr>    <int> <chr>     
## 1 A04   0.101 33           1 Ok        
## 2 A05   0.092 33           1 Ok        
## 3 A06   0.094 33           1 Ok        
## 4 A07   0.436 15           5 Ok        
## 5 A08   0.449 15           5 Ok        
## 6 A09   0.39  15           5 Ok

## Subset Data and Calculate Concentrations

#Calculate concentrations of Sulfide
dat$Conc <- ((dat$Abs-cf[1])/cf[2])*(dat$Dilution)
head(dat)

## # A tibble: 6 × 6
##   Wells   Abs IDs   Dilution H2S_Dilute   Conc
##   <chr> <dbl> <chr>    <int> <chr>       <dbl>
## 1 A04   0.101 33           1 Ok           2.07
## 2 A05   0.092 33           1 Ok           1.18
## 3 A06   0.094 33           1 Ok           1.38
## 4 A07   0.436 15           5 Ok         176.  
## 5 A08   0.449 15           5 Ok         182.  
## 6 A09   0.39  15           5 Ok         153.

#Use ifelse to make any negative values equal to zero
dat$H2S_Conc_Final <- ifelse(dat$Conc <0, 0, dat$Conc)

#Use ifelse to mark samples that were below detection limit and changed to zero
dat$H2S_info <- ifelse(dat$Conc <0, 'bdl', ifelse(dat$Abs > mean(std5$Abs), "adl", "Within_Range"))

head(dat)

## # A tibble: 6 × 8
##   Wells   Abs IDs   Dilution H2S_Dilute   Conc H2S_Conc_Final H2S_info    
##   <chr> <dbl> <chr>    <int> <chr>       <dbl>          <dbl> <chr>       
## 1 A04   0.101 33           1 Ok           2.07           2.07 Within_Range
## 2 A05   0.092 33           1 Ok           1.18           1.18 Within_Range
## 3 A06   0.094 33           1 Ok           1.38           1.38 Within_Range
## 4 A07   0.436 15           5 Ok         176.           176.   Within_Range
## 5 A08   0.449 15           5 Ok         182.           182.   Within_Range
## 6 A09   0.39  15           5 Ok         153.           153.   Within_Range

## Calculate Averages across wells and std. dev.

head(dat)

## # A tibble: 6 × 8
##   Wells   Abs IDs   Dilution H2S_Dilute   Conc H2S_Conc_Final H2S_info    
##   <chr> <dbl> <chr>    <int> <chr>       <dbl>          <dbl> <chr>       
## 1 A04   0.101 33           1 Ok           2.07           2.07 Within_Range
## 2 A05   0.092 33           1 Ok           1.18           1.18 Within_Range
## 3 A06   0.094 33           1 Ok           1.38           1.38 Within_Range
## 4 A07   0.436 15           5 Ok         176.           176.   Within_Range
## 5 A08   0.449 15           5 Ok         182.           182.   Within_Range
## 6 A09   0.39  15           5 Ok         153.           153.   Within_Range

#summarize by sampleID so that we can calculate the mean and std. dev. of the three wells 
dat1 <- dat %>%
  group_by(IDs) %>%
  summarise(H2S_mean = mean(H2S_Conc_Final), H2S_sd = sd(H2S_Conc_Final), H2S_cv = cv(H2S_Conc_Final), 
            H2S_flag = first(H2S_info), 
            Dilution = first(Dilution))

head(dat1)

## # A tibble: 6 × 6
##   IDs      H2S_mean H2S_sd H2S_cv H2S_flag     Dilution
##   <chr>       <dbl>  <dbl>  <dbl> <chr>           <int>
## 1 12           357.   19.4   5.43 Within_Range        5
## 2 15           170.   15.3   8.99 Within_Range        5
## 3 15 Dup       190.   12.7   6.69 Within_Range        5
## 4 18           223.   27.7  12.4  Within_Range        5
## 5 18 Spike     230.   13.7   5.95 Within_Range        5
## 6 27           208.   39.8  19.2  Within_Range        5

#Flag high cvs 
dat1$H2S_cv_flag <- ifelse(dat1$H2S_cv > 10, 'High CV', 'within range')
## to flag high dilutions 
#dat1$H2S_Dilute <- ifelse(dat1$H2S_mean/dat1$Dilution > ((Std5_ABS-cf[1])/cf[2])*(1) , "Dilute", "Ok")

head(dat1)

## # A tibble: 6 × 7
##   IDs      H2S_mean H2S_sd H2S_cv H2S_flag     Dilution H2S_cv_flag 
##   <chr>       <dbl>  <dbl>  <dbl> <chr>           <int> <chr>       
## 1 12           357.   19.4   5.43 Within_Range        5 within range
## 2 15           170.   15.3   8.99 Within_Range        5 within range
## 3 15 Dup       190.   12.7   6.69 Within_Range        5 within range
## 4 18           223.   27.7  12.4  Within_Range        5 High CV     
## 5 18 Spike     230.   13.7   5.95 Within_Range        5 within range
## 6 27           208.   39.8  19.2  Within_Range        5 High CV

#plot data and sd's just to check and see what they look like - just a quick first look 
H2S <- ggplot(dat1, aes(x=IDs, y=H2S_mean))+ 
  geom_point(size=4) +  theme_classic() + 
  labs(y="Sulfide (uM)", x="Sample ID") + 
  geom_errorbar(aes(ymin=H2S_mean-H2S_sd,
                    ymax=H2S_mean+H2S_sd),width=0.3,position=position_dodge(.1))+
  guides(x = guide_axis(angle = 70))
H2S

#If CVs are high manually go in and remove the one rep that you think is causing the issue (see below). Alia will automate this eventually

## Remove bad reps

#auto remove bad reps
# filter High CV Samples
dat1_HCV <- dat1 %>%  
  filter(str_detect(H2S_cv_flag, "High CV")) 
head(dat1_HCV)

## # A tibble: 6 × 7
##   IDs      H2S_mean H2S_sd H2S_cv H2S_flag     Dilution H2S_cv_flag
##   <chr>       <dbl>  <dbl>  <dbl> <chr>           <int> <chr>      
## 1 18         223.   27.7     12.4 Within_Range        5 High CV    
## 2 27         208.   39.8     19.2 Within_Range        5 High CV    
## 3 33           1.55  0.467   30.2 Within_Range        1 High CV    
## 4 33 Spike     1.58  0.261   16.5 Within_Range        1 High CV    
## 5 35          16.7   2.08    12.4 Within_Range        1 High CV    
## 6 36          19.4   2.05    10.6 Within_Range        1 High CV

dat_HCV <- subset(dat, (IDs %in% dat1_HCV$IDs ))
head(dat_HCV)

## # A tibble: 6 × 8
##   Wells   Abs IDs   Dilution H2S_Dilute  Conc H2S_Conc_Final H2S_info    
##   <chr> <dbl> <chr>    <int> <chr>      <dbl>          <dbl> <chr>       
## 1 A04   0.101 33           1 Ok          2.07           2.07 Within_Range
## 2 A05   0.092 33           1 Ok          1.18           1.18 Within_Range
## 3 A06   0.094 33           1 Ok          1.38           1.38 Within_Range
## 4 C04   0.267 35           1 Ok         18.5           18.5  Within_Range
## 5 C05   0.255 35           1 Ok         17.3           17.3  Within_Range
## 6 C06   0.226 35           1 Ok         14.4           14.4  Within_Range

#Columns 4 7 10
Column1= c("A04", "A07","A10", "B04","B10" ,"C04" , "C07", "C10",
"D04","D10", "E04","E07", "E10" ,"F04" , "F07" ,"G04","G07" ,"G10" ,"H01","H04","H07")

#Columns 5,8,11
Column2= c("A05", "A08","A11", "B05","B11" ,"C05" , "C08", "C11",
"D05","D11", "E05","E08", "E11" ,"F05" , "F08" ,"G05","G08" ,"G11" ,"H02","H05","H08")

#Columns 6,9,12
Column3= c("A06", "A09","A12", "B06" ,"B12" ,"C06" , "C09", "C12",
"D06","D12", "E06","E09", "E12" ,"F06" , "F09" ,"G06","G09" ,"G12" ,"H03","H06","H09")


#delete Column one
dat_HCV1 <- subset(dat_HCV, !(Wells %in% Column1 ))
#delete Column two
dat_HCV2 <- subset(dat_HCV, !(Wells %in% Column2 ))
#delete Column three
dat_HCV3 <- subset(dat_HCV, !(Wells %in% Column3 ))

##Find CV for each Data set
#W/out column1
dat_HCV1 <- dat_HCV1 %>%
  group_by(IDs) %>%
  summarise(H2S_mean = mean(H2S_Conc_Final), H2S_sd = sd(H2S_Conc_Final), H2S_cv = cv(H2S_Conc_Final), 
            H2S_flag = first(H2S_info), 
            Dilution = first(Dilution))
dat_HCV1$H2S_cv_flag <- ifelse(dat_HCV1$H2S_cv > 10, 'High CV', 'within range')
#W/out column2
dat_HCV2 <- dat_HCV2 %>%
  group_by(IDs) %>%
  summarise(H2S_mean = mean(H2S_Conc_Final), H2S_sd = sd(H2S_Conc_Final), H2S_cv = cv(H2S_Conc_Final), 
            H2S_flag = first(H2S_info), 
            Dilution = first(Dilution))
dat_HCV2$H2S_cv_flag <- ifelse(dat_HCV2$H2S_cv > 10, 'High CV', 'within range')
#W/out column3
dat_HCV3 <- dat_HCV3 %>%
  group_by(IDs) %>%
  summarise(H2S_mean = mean(H2S_Conc_Final), H2S_sd = sd(H2S_Conc_Final), H2S_cv = cv(H2S_Conc_Final), 
            H2S_flag = first(H2S_info), 
            Dilution = first(Dilution))
dat_HCV3$H2S_cv_flag <- ifelse(dat_HCV3$H2S_cv > 10, 'High CV', 'within range')
#find lowest CVs

dat_HCV1_1 <- subset(dat_HCV1, dat_HCV1$H2S_cv < dat_HCV2$H2S_cv & dat_HCV1$H2S_cv < dat_HCV3$H2S_cv)
head(dat_HCV1_1)

## # A tibble: 2 × 7
##   IDs      H2S_mean H2S_sd H2S_cv H2S_flag     Dilution H2S_cv_flag 
##   <chr>       <dbl>  <dbl>  <dbl> <chr>           <int> <chr>       
## 1 33           1.28 0.140   10.9  Within_Range        1 High CV     
## 2 33 Spike     1.73 0.0698   4.04 Within_Range        1 within range

dat_HCV2_2 <- subset(dat_HCV2, dat_HCV2$H2S_cv < dat_HCV1$H2S_cv & dat_HCV2$H2S_cv < dat_HCV3$H2S_cv)
head(dat_HCV1_1)

## # A tibble: 2 × 7
##   IDs      H2S_mean H2S_sd H2S_cv H2S_flag     Dilution H2S_cv_flag 
##   <chr>       <dbl>  <dbl>  <dbl> <chr>           <int> <chr>       
## 1 33           1.28 0.140   10.9  Within_Range        1 High CV     
## 2 33 Spike     1.73 0.0698   4.04 Within_Range        1 within range

dat_HCV3_3 <- subset(dat_HCV3, dat_HCV3$H2S_cv < dat_HCV2$H2S_cv & dat_HCV3$H2S_cv < dat_HCV1$H2S_cv)
head(dat_HCV3_3)

## # A tibble: 2 × 7
##   IDs   H2S_mean H2S_sd H2S_cv H2S_flag     Dilution H2S_cv_flag 
##   <chr>    <dbl>  <dbl>  <dbl> <chr>           <int> <chr>       
## 1 27       228.  25.1    11.0  Within_Range        5 High CV     
## 2 35        17.9  0.838   4.69 Within_Range        1 within range

#recombine data frames
dat2_HCV <- rbind(dat_HCV1_1,dat_HCV2_2,dat_HCV3_3)
head(dat2_HCV)

## # A tibble: 6 × 7
##   IDs      H2S_mean  H2S_sd H2S_cv H2S_flag     Dilution H2S_cv_flag 
##   <chr>       <dbl>   <dbl>  <dbl> <chr>           <int> <chr>       
## 1 33           1.28  0.140   10.9  Within_Range        1 High CV     
## 2 33 Spike     1.73  0.0698   4.04 Within_Range        1 within range
## 3 18         209.   17.8      8.54 Within_Range        5 within range
## 4 36          18.2   0.489    2.68 Within_Range        1 within range
## 5 27         228.   25.1     11.0  Within_Range        5 High CV     
## 6 35          17.9   0.838    4.69 Within_Range        1 within range

dat1 <- subset(dat1, (!IDs %in% dat2_HCV$IDs ))
dat1 <- rbind(dat2_HCV, dat1)
head(dat1)

## # A tibble: 6 × 7
##   IDs      H2S_mean  H2S_sd H2S_cv H2S_flag     Dilution H2S_cv_flag 
##   <chr>       <dbl>   <dbl>  <dbl> <chr>           <int> <chr>       
## 1 33           1.28  0.140   10.9  Within_Range        1 High CV     
## 2 33 Spike     1.73  0.0698   4.04 Within_Range        1 within range
## 3 18         209.   17.8      8.54 Within_Range        5 within range
## 4 36          18.2   0.489    2.68 Within_Range        1 within range
## 5 27         228.   25.1     11.0  Within_Range        5 High CV     
## 6 35          17.9   0.838    4.69 Within_Range        1 within range

#dat1$H2S_mean <- ifelse(dat1$H2S_cv_flag == 'High CV',  dat2_HCV$H2S_mean, dat1$H2S_mean)
#dat1$H2S_H2S_sd <- ifelse(dat1$H2S_cv_flag == 'High CV',  dat2_HCV$H2S_H2S_sd, dat1$H2S_H2S_sd)
#dat1$H2S_H2S_cv <- ifelse(dat1$H2S_cv_flag == 'High CV',  dat2_HCV$H2S_H2S_cv, dat1$H2S_H2S_cv)
#dat1$H2S_H2S_cv_flag <- ifelse(dat1$H2S_cv_flag == 'High CV',  dat2_HCV$H2S_H2S_cv_flag, dat1$H2S_H2S_cv_flag)



###Manually Remove bad reps by row number in original dataframe
#dat <- dat[-c(10,13,16,21,28,31,37,40,48,52,60),]
#dat <- subset(dat, !(Wells %in% c("B04," )))


#rerun lines 231-253
#head(dat)

#summarize by sampleID so that we can calculate the mean and std. dev. of the three wells 
#dat1 <- dat %>%
#  group_by(IDs) %>%
 # summarise(H2S_mean = mean(H2S_Conc_Final), H2S_sd = sd(H2S_Conc_Final), H2S_cv = cv(H2S_Conc_Final), 
           # H2S_flag = first(H2S_info), 
           # Dilution = first(Dilution))

#head(dat1)

#Flag high cvs
#dat1$H2S_cv_flag <- ifelse(dat1$H2S_cv > 10, 'High CV rerun', 'within range')

#head(dat1)

#plot data and sd's just to check and see what they look like - just a quick first look 
H2S <- ggplot(dat1, aes(x=IDs, y=H2S_mean))+ 
  geom_point(size=4) +  theme_classic() + 
  labs(y="Sulfide (uM)", x="Sample ID") + 
  geom_errorbar(aes(ymin=H2S_mean-H2S_sd,
                    ymax=H2S_mean+H2S_sd),width=0.3,position=position_dodge(.1))+
  guides(x = guide_axis(angle = 70))
H2S

#If samples with cv >10 rerun those samples 
H2S_HighCVRerun <- subset(dat1, H2S_cv_flag == "High CV")
H2S_DiluteRerun <- subset(dat1, H2S_flag == "adl")
H2S_bdl <- subset(dat1,H2S_flag == "bdl")

## Check the dups for QAQC

#Show me the data that we have from the calculations 
head(dat1)

## # A tibble: 6 × 7
##   IDs      H2S_mean  H2S_sd H2S_cv H2S_flag     Dilution H2S_cv_flag 
##   <chr>       <dbl>   <dbl>  <dbl> <chr>           <int> <chr>       
## 1 33           1.28  0.140   10.9  Within_Range        1 High CV     
## 2 33 Spike     1.73  0.0698   4.04 Within_Range        1 within range
## 3 18         209.   17.8      8.54 Within_Range        5 within range
## 4 36          18.2   0.489    2.68 Within_Range        1 within range
## 5 27         228.   25.1     11.0  Within_Range        5 High CV     
## 6 35          17.9   0.838    4.69 Within_Range        1 within range

#pull out any rows that have "Dup" in the ID column
dups <- dat1 %>%  
  filter(str_detect(IDs, "Dup")) 
head(dups)

## # A tibble: 1 × 7
##   IDs    H2S_mean H2S_sd H2S_cv H2S_flag     Dilution H2S_cv_flag 
##   <chr>     <dbl>  <dbl>  <dbl> <chr>           <int> <chr>       
## 1 15 Dup     190.   12.7   6.69 Within_Range        5 within range

#remove these from dat1
dat2 <- dat1 %>%  
  filter(!str_detect(IDs, "Dup")) %>%  
  filter(!str_detect(IDs, "Spike")) 
head(dat2)

## # A tibble: 6 × 7
##   IDs   H2S_mean H2S_sd H2S_cv H2S_flag     Dilution H2S_cv_flag 
##   <chr>    <dbl>  <dbl>  <dbl> <chr>           <int> <chr>       
## 1 33        1.28  0.140  10.9  Within_Range        1 High CV     
## 2 18      209.   17.8     8.54 Within_Range        5 within range
## 3 36       18.2   0.489   2.68 Within_Range        1 within range
## 4 27      228.   25.1    11.0  Within_Range        5 High CV     
## 5 35       17.9   0.838   4.69 Within_Range        1 within range
## 6 12      357.   19.4     5.43 Within_Range        5 within range

#remove the dup from these IDs so we will have duplicates 
dups$IDs<-gsub(" Dup",'',dups$IDs)
head(dups)

## # A tibble: 1 × 7
##   IDs   H2S_mean H2S_sd H2S_cv H2S_flag     Dilution H2S_cv_flag 
##   <chr>    <dbl>  <dbl>  <dbl> <chr>           <int> <chr>       
## 1 15        190.   12.7   6.69 Within_Range        5 within range

colnames(dups) <- c('IDs', 'mean_dup')


#put it back together with the old data set and look for duplicates 
QAdups <- merge(dat2, dups)
head(QAdups)

##   IDs H2S_mean   H2S_sd   H2S_cv     H2S_flag Dilution  H2S_cv_flag mean_dup
## 1  15 170.3322 15.30528 8.985547 Within_Range        5 within range 189.9164
##         NA     NA.1         NA.2 NA.3         NA.4
## 1 12.70626 6.690452 Within_Range    5 within range

QAdups$dups_chk <- ((abs(QAdups$H2S_mean-QAdups$mean_dup))/((QAdups$H2S_mean+QAdups$mean_dup)/2))*100
QAdups$dups_flag <-  ifelse(QAdups$dups_chk <15.5, 'OK', 'Rerun')

head(QAdups)

##   IDs H2S_mean   H2S_sd   H2S_cv     H2S_flag Dilution  H2S_cv_flag mean_dup
## 1  15 170.3322 15.30528 8.985547 Within_Range        5 within range 189.9164
##         NA     NA.1         NA.2 NA.3         NA.4 dups_chk dups_flag
## 1 12.70626 6.690452 Within_Range    5 within range 10.87259        OK

#plot dups output as a bar graph to easily check - want any over 10% to be red need to work on this 
dupsbar <- ggplot(data = QAdups, aes(x = IDs, y = dups_chk, fill=dups_chk)) +
       geom_bar(stat = 'identity') + 
        scale_fill_gradient2(low='darkgreen', mid='darkgreen', high='darkgrey', space='Lab') + 
        theme_classic() + labs(x= "Sample ID", y="Difference Between Duplicates (%)") + 
        theme(legend.position="none") +  geom_hline(yintercept=10, linetype="dashed", 
                color = "black", size=1)

dupsbar

#check for any one's that would warrant reruns

## Check the spks for QAQC

#Show me the data that we have from the calculations 
head(dat1)

## # A tibble: 6 × 7
##   IDs      H2S_mean  H2S_sd H2S_cv H2S_flag     Dilution H2S_cv_flag 
##   <chr>       <dbl>   <dbl>  <dbl> <chr>           <int> <chr>       
## 1 33           1.28  0.140   10.9  Within_Range        1 High CV     
## 2 33 Spike     1.73  0.0698   4.04 Within_Range        1 within range
## 3 18         209.   17.8      8.54 Within_Range        5 within range
## 4 36          18.2   0.489    2.68 Within_Range        1 within range
## 5 27         228.   25.1     11.0  Within_Range        5 High CV     
## 6 35          17.9   0.838    4.69 Within_Range        1 within range

#pull out any rows that have "d" in the SampleID column
spks <- dat1 %>%  
  filter(str_detect(IDs, "Spike")) 
head(spks)

## # A tibble: 2 × 7
##   IDs      H2S_mean  H2S_sd H2S_cv H2S_flag     Dilution H2S_cv_flag 
##   <chr>       <dbl>   <dbl>  <dbl> <chr>           <int> <chr>       
## 1 33 Spike     1.73  0.0698   4.04 Within_Range        1 within range
## 2 18 Spike   230.   13.7      5.95 Within_Range        5 within range

#remove these from dat1
dat2 <- dat1 %>%  
  filter(!str_detect(IDs, "Dup")) %>%  
  filter(!str_detect(IDs, "Spike")) 
head(dat2)

## # A tibble: 6 × 7
##   IDs   H2S_mean H2S_sd H2S_cv H2S_flag     Dilution H2S_cv_flag 
##   <chr>    <dbl>  <dbl>  <dbl> <chr>           <int> <chr>       
## 1 33        1.28  0.140  10.9  Within_Range        1 High CV     
## 2 18      209.   17.8     8.54 Within_Range        5 within range
## 3 36       18.2   0.489   2.68 Within_Range        1 within range
## 4 27      228.   25.1    11.0  Within_Range        5 High CV     
## 5 35       17.9   0.838   4.69 Within_Range        1 within range
## 6 12      357.   19.4     5.43 Within_Range        5 within range

#remove the Spike from these IDs so we will have duplicates 
spks$IDs<-gsub(" Spike","",spks$IDs)
head(spks)

## # A tibble: 2 × 7
##   IDs   H2S_mean  H2S_sd H2S_cv H2S_flag     Dilution H2S_cv_flag 
##   <chr>    <dbl>   <dbl>  <dbl> <chr>           <int> <chr>       
## 1 33        1.73  0.0698   4.04 Within_Range        1 within range
## 2 18      230.   13.7      5.95 Within_Range        5 within range

colnames(spks) <- c('IDs', 'mean_spk')


#put it back together with the old data set and look for duplicates 
QAspks <- merge(dat2, spks)
head(QAspks)

##   IDs   H2S_mean     H2S_sd    H2S_cv     H2S_flag Dilution  H2S_cv_flag
## 1  18 208.595377 17.8047017  8.535521 Within_Range        5 within range
## 2  33   1.283519  0.1396447 10.879833 Within_Range        1      High CV
##     mean_spk          NA     NA.1         NA.2 NA.3         NA.4
## 1 230.236711 13.70310130 5.951745 Within_Range    5 within range
## 2   1.727866  0.06982236 4.040960 Within_Range    1 within range

#now we need to calculate the spike concentration and calculate the spike recovery 
#spike for these samples was 10 uL of the 100uM standard
QAspks$spk_Conc <- (100*(10/1000000))                        # this would be in umoles of S2- in the spk 
QAspks$unspkd <- (QAspks$H2S_mean/QAspks$Dilution)*(250/1000000) #gives us the total S2- in the sample in umoles
QAspks$spkd <-    (QAspks$mean_spk/QAspks$Dilution)*((250+10)/1000000)        ##total fe in spiked sample in umoles 
QAspks$expctd_spkd <-  (QAspks$unspkd + QAspks$spk_Conc)
QAspks$spk_recovery <-    (QAspks$spkd/QAspks$expctd_spkd)*100
QAspks$spks_flag <-  ifelse(QAspks$spk_recovery >80 & QAspks$spk_recovery <120, 'OK', 'NO, rerun')   

head(QAspks)

##   IDs   H2S_mean     H2S_sd    H2S_cv     H2S_flag Dilution  H2S_cv_flag
## 1  18 208.595377 17.8047017  8.535521 Within_Range        5 within range
## 2  33   1.283519  0.1396447 10.879833 Within_Range        1      High CV
##     mean_spk          NA     NA.1         NA.2 NA.3         NA.4 spk_Conc
## 1 230.236711 13.70310130 5.951745 Within_Range    5 within range    0.001
## 2   1.727866  0.06982236 4.040960 Within_Range    1 within range    0.001
##         unspkd         spkd expctd_spkd spk_recovery spks_flag
## 1 0.0104297689 0.0119723090  0.01142977    104.74673        OK
## 2 0.0003208797 0.0004492451  0.00132088     34.01105 NO, rerun

#plot spk recoveries output as a bar graph to easily check - want any over 10% to be red need to work on this 
spksbar <- ggplot(data = QAspks, aes(x = IDs, y = spk_recovery)) +
        geom_bar(stat = 'identity') + 
        scale_fill_manual(values=c("gray48")) + 
        theme_classic() + labs(x= "Sample ID", y="Spike Recovery (%)") + 
        theme(legend.position="none") +  
        geom_hline(yintercept=80, linetype="dashed", color = "black", size=1) + 
        geom_hline(yintercept=120, linetype="dashed", color = "black", size=1)

spksbar

#check for any no's that would warrant reruns!

## Export full data then just final data

dat_IDs <- dat1

#Read out the summarized data
head(dat_IDs)

## # A tibble: 6 × 7
##   IDs      H2S_mean  H2S_sd H2S_cv H2S_flag     Dilution H2S_cv_flag 
##   <chr>       <dbl>   <dbl>  <dbl> <chr>           <int> <chr>       
## 1 33           1.28  0.140   10.9  Within_Range        1 High CV     
## 2 33 Spike     1.73  0.0698   4.04 Within_Range        1 within range
## 3 18         209.   17.8      8.54 Within_Range        5 within range
## 4 36          18.2   0.489    2.68 Within_Range        1 within range
## 5 27         228.   25.1     11.0  Within_Range        5 High CV     
## 6 35          17.9   0.838    4.69 Within_Range        1 within range

write.csv(dat_IDs, file="S:/GlobalChangeEco/Porewater_R scripts & Data/Data/Sulfide Microplate/COMPASS/2024 October/QAQC'd Data/COMPASS_H2S_20241028_Plate3_Summary_Data.csv")

#Read out all the data in dat 
head(dat)

## # A tibble: 6 × 8
##   Wells   Abs IDs   Dilution H2S_Dilute   Conc H2S_Conc_Final H2S_info    
##   <chr> <dbl> <chr>    <int> <chr>       <dbl>          <dbl> <chr>       
## 1 A04   0.101 33           1 Ok           2.07           2.07 Within_Range
## 2 A05   0.092 33           1 Ok           1.18           1.18 Within_Range
## 3 A06   0.094 33           1 Ok           1.38           1.38 Within_Range
## 4 A07   0.436 15           5 Ok         176.           176.   Within_Range
## 5 A08   0.449 15           5 Ok         182.           182.   Within_Range
## 6 A09   0.39  15           5 Ok         153.           153.   Within_Range

write.csv(dat, file="S:/GlobalChangeEco/Porewater_R scripts & Data/Data/Sulfide Microplate/COMPASS/2024 October/QAQC'd Data/COMPASS_H2S_20241028_Plate3_Data.csv")

#Now take out the absorbance and stuff 
head(dat)

## # A tibble: 6 × 8
##   Wells   Abs IDs   Dilution H2S_Dilute   Conc H2S_Conc_Final H2S_info    
##   <chr> <dbl> <chr>    <int> <chr>       <dbl>          <dbl> <chr>       
## 1 A04   0.101 33           1 Ok           2.07           2.07 Within_Range
## 2 A05   0.092 33           1 Ok           1.18           1.18 Within_Range
## 3 A06   0.094 33           1 Ok           1.38           1.38 Within_Range
## 4 A07   0.436 15           5 Ok         176.           176.   Within_Range
## 5 A08   0.449 15           5 Ok         182.           182.   Within_Range
## 6 A09   0.39  15           5 Ok         153.           153.   Within_Range

dat3 <- dat[ ,-(1:2)]
dat3 <- dat3[ ,-(2:5)]
head(dat3)

## # A tibble: 6 × 2
##   IDs   H2S_info    
##   <chr> <chr>       
## 1 33    Within_Range
## 2 33    Within_Range
## 3 33    Within_Range
## 4 15    Within_Range
## 5 15    Within_Range
## 6 15    Within_Range

write.csv(dat3, file="S:/GlobalChangeEco/Porewater_R scripts & Data/Data/Sulfide Microplate/COMPASS/2024 October/QAQC'd data/COMPASS_H2S_20241028_Plate3_short_Data.csv")

# write flagged data to file
write.csv(H2S_DiluteRerun, "S:/GlobalChangeEco/Porewater_R scripts & Data/Data/Sulfide Microplate/COMPASS/2024 October/QAQC'd Data/20241028_SamplesNeedDilution_Plate3.csv")
write.csv(H2S_HighCVRerun, "S:/GlobalChangeEco/Porewater_R scripts & Data/Data/Sulfide Microplate/COMPASS/2024 October/QAQC'd Data/20241028_SamplesNeedRerun_Plate3.csv")

#save to QAQC Data to QAQC File
#write.csv(qlog, file="S:/GlobalChangeEco/porewater_r scripts & Data/BGC_GCE_PorewaterAnalysis/Sulfide/Sulfide_STD_QAQC.csv")

### END